## Sheet1
Test Point | VDC | Tool | Description | Page Ref. | Section
TP01 |  | Scope | Sampled input signal (stair-step). 8VDC max.
TP02 |  |  | Unk
TP03 |  |  | Unk
TP04 |  |  | Unk
TP05 |  |  | Unk
TP06 | +8 | Meter | R69 adjusts full scale signal level. TP6 should be set to about 8VDC | 104 | 5.1.5.2
TP07 |  |  | Unk
TP08 |  |  | Unk
TP09 |  |  | Unk
TP10 |  |  | Unk
TP11 |  |  | Unk
TP12 |  |  | Unk
TP13 |  |  | Unk
TP14 |  |  | Unk
TP15 |  |  | Unk
TP16 | +5 | Meter | The circuit of U62 (C-3) and Q18 (E-3, a VMOS power FET) makes an ideal pass transistor for a linear regulator and provides +5VDC for all digital circuitry at the output end of L5 (1-2). This circuit is wired as a voltage fOllower, thus the final output voltage at the source of Q18 is forced (by the gain of the op-amp, U62) to equal the reference voltage at its non-inverting input. This Voltage can be monitored at TP16 (H-2). The output is adjusted at R180 for exactly 5.00 volts (C-4) to optimize performance of the custom VLSI chips on the Engine Board. | 98 | 5.1.2.5
TP17 | +8 | Meter | The circuit of D25 (dual Shottky, B-2) and C202 (B-3) provide high current availability of +8VDC (unregulated) @ TP17 (C-2). This current source is used by the digital regulator circuit(s). Due to the lower forward voltage drop of a Shottky rectifier, less heat is dissipated by the rectifier and the transformer voltage can be lower; however because of the heavy current drain on the +5 volt supply (up to 3.5 amps), it is necessary to heats ink D25 to the rear panel. C200 and C201 suppress rectifier switching noise. | 98 | 5.1.2.5
TP18 |  |  | Unk
TP19 | +12 | Meter | VR3, C193 (D-1) provide +12VDC for the optional hard disk at TP19 (H-1) and pin 1 of J18 (1-1). R200 is required to lightly load VR3 when the hard disk is not installed; this prevents oscillation. | 98 | 5.1.2.4
TP20 |  |  | Unk
TP21 |  |  | Unk
TP22 | -20 | Meter | D21, D22 (B-1), and C190 (C-1) deliver unregulated -20VDC to TP22 (C-1) to provide -12Vana, -5Vana, -15Vbias. | 97 | 5.1.2.3
TP23 | +12 | Meter | VR5, C186 (F-1) provide +5Vana and VR2, CL88 (G-1) provide +5Vref. Both circuits are sourced by VR7, C207 (+12Vana @ TP23, D-1 & E-1) | 98 | 5.1.2.4
TP24 |  |  | Unk
TP25 | +20 | Meter | D23, D24 (B-1) and C192 (C-1) provide unregulated +20VDC to TP25 (C-1) from which +12Vana, +5Vana, +5Vref, and +8VDC are derived | 97 | 5.1.2.3